External Release Notes

Illustra Connect

V 1

Connect

Note: 
In case of discrepancy, the information in this document supersedes the information in any document referenced herein.

The American Dynamics illustra Connect tool is an application that allows users to discover and configure compatible IP Network Video Transmitter (NVT) devices. This list initially includes:

- Illustra 400 series cameras

- American Dynamics IP Fixed Cameras (Originally called VideoEdge IP Fixed Cameras)

The tool comes in 3 forms:

- Full Windows installer.  This will install the full application onto the PC hard disk and will install the .NET and other prerequisites if needed.

- Basic Windows Installer.  This is a much smaller installer package which can be easily downloaded from the American Dynamics Website.  This will install the full application onto the PC hard disk but it will not install any of the .Net prerequisites.  It will check if the required .NET framework is installed, and if found missing, will inform the user to install the relevant components first.  No supporting .NET files are supplied as part of this basic executable and the user will have to retrieve these files elsewhere.

- Virtualized application.  This does not install anything on the computer but is a self contained version that can be run with no prerequisites.  It can also be stored on a USB flash drive and used when required by plugging into the systems USB port. However, as this is a virtualized version it will not store any user specified detail such as security settings and network preferences for future use.

illustra Connect is based on the ONVIF standard and discovers devices using WS-Discovery.  It will therefore discover any device that fully implements the WS-Discovery standard and announces itself as an ONVIF Network Video Transmitter (NVT). However, as the ONVIF standard may have been implemented differently for these devices, illustra Connect’s functionality may be restricted for these specific devices.

illustra Connect will allow users to interact with their compatible devices directly to configure date/time, assign IP settings and addresses, upgrade firmware, and where applicable launch the device’s web GUI (Graphical User Interface). The user can define which networks illustra Connect will scan, and can also set security credentials for illustra Connect to use when communicating with devices.

See the illustra Connect User Guide for licensing information and more information on how to install and use the tool; and network, PC and NVT IP configurations that can affect the ability to discover and configure NVT devices.

This version of illustra Connect supports English (default), Spanish, French, German and Portuguese (Brazilian).

# Open Limitations

The following is a list of the known limitations with Software and Documentation.

| Known limitation | Description | Status |
| --- | --- | --- |
| 1 | It is recommended that illustra Connect be connected directly on the same network switch as the NVT devices/ IP cameras or within the same unfiltered LAN. Connecting illustra Connect from a different VLAN with routers between the VLANs may result in unreliable discovery. | Network Limitation |
| 2 | The illustra Connect tool might not reliably discover ONVIF cameras if the network switch where cameras are connected is configured with IGMP Snooping option enabled. Check switch operating manual for proper configuration. | Network Limitation |